## Rack Planning
Rack U Position | Device | Height (U) | Power (W) | Network Ports Used | Notes | Weight (kg) | BTU/h Output | Power Redundancy | Connection Type | Management Interface | Notes
1-2 | Patch Panel + Cable Management | 2 | 0 | 24 | Top-mounted for structured cabling | 1 | 0 | N/A | CAT6 | None | Top-mounted for structured cabling
3 | Cisco CBS250 24-Port Switch | 1 | 40 | 20 | Connects servers, NAS, and uplinks | 3 | 136.4 | No | SFP+/RJ45 | Web UI | Connects servers, NAS, and uplinks
4 | Cable Management Arm | 1 | 0 | 0 | Organizes switch cabling | 1 | 0 | N/A | N/A | None | Organizes switch cabling
5 | Dell PowerEdge R650 Server | 1 | 800 | 4 | Main virtualization host | 17 | 2728 | Yes | 10GbE/1GbE | iDRAC | Main virtualization host
6 | Blank Panel | 1 | 0 | 0 | Cooling buffer | 0 | 0 | N/A | N/A | None | Cooling buffer
7-8 | Synology RS822+ NAS | 2 | 60 | 2 | Backup and storage | 0 | 204.6 | N/A | N/A | None | Backup and storage
9-10 | APC Smart-UPS 1500VA | 2 | 0 | 0 | Power backup, 1500VA | 0 | 0 | N/A | N/A | None | Power backup, 1500VA
11-12 | Spare Rack Space | 2 | 0 | 0 | Reserved for future expansion | 0 | 0 | N/A | N/A | None | Reserved for future expansion